NASPInet 2.0 Architectural Specifications and Guidance

Draft ToC v 0.2

4 May 2017

- Background and Purpose
1.1 Short history of original NASPINet specs and ARRA experience; 
(reference the analysis report from NASPInet 2.0 project and cite some key results)

1.2 Discussion of justification for a new specification.

- Scope
initial broad scope statement
overview of applications/use cases, present and forward-looking; include wide area closed loop protection and control, adaptive protection, etc.
cite previous application lists; add necessary forward leaning cases

- Key Architectural Principles
3.1 basic good network practices (core and edge model; layering, etc.)
3.2 use of international open standards
3.3 function allocation concepts & good practice (network vs. middleware vs. application)
3.4 some implications of these principles: 
      avoid PDC stacking
      minimize use of protocol conversion  gateways, etc.

- Core Requirements
scalability       latency minimization      reliability/(min packet loss)    cybersecurity
performance           functional flexibility       data persistence    open standards usage/conformance      data sharing     data rates  availability    extensibility     service classes

- Problem Domain Reference Model
5.1 emerging trends & systemic issues; regulatory/public policy  issues
5.2 key  constraints & barriers (example: geographic constraints)
5.3 entity-relationship (industry structure) model(s)
5.4 logical/data flow model(s)

- Architectural Specifications and Recommendations
6.1 function class definitions (capabilities)
6.2 component class definitions (devices and systems) 
6.3 networks
     6.3.1 structures/topologies (intra-utility, WAN)
     6.3.2 protocols, operating modes
     6.3.3 network provisioning/monitoring/management: AAA; ZTD, FCAPS
     6.3.4 QoS management
     6.3.5 timing distribution 
     6.3.6 network level cyber security
6.4 systems
     6.4.1 function allocation(s) – data acquisition/data transfer modes, synchronization, 
                                               data management (persistence and curation), 
                                               event processing, analysis/visualization, registry services, 
                                               name/directory services, access control/access methods, device 
                                               provisioning/configuration, system administration, event logging,
                                               failure mode management, etc.
     6.4.2 system structures and interfaces
     6.4.3 system level cyber security
6.5 standards
        IEEE C37.118, IEC 61850-90-5, IP protocol suite, IEEE 1588 (timing), 
        IEEE 1451 (smart transducers), 
        IEC 61968/61970 (CIM), IEC 27040 (storage security), 
        IEEE P1619 (storage encryption), 
        IEC 27001/27002 (InfoSec), NERC CIP x, etc., as appropriate

- Guidance on Newer/Emerging Technologies
Software Defined Network, Cloud Services, Network Virtualization

- Appendices (as needed)

Authentication, Authorization, and Auditing

Zero Touch Deployment

Fault-management, Configuration, Accounting, Performance, and Security